| Title | Demonstrate knowledge of under tile heating systems and their installation |
| --- | --- |
| Level | 2 | Credits | 3 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of under tile heating systems and their installation. |
| --- | --- |

| Classification | Construction Trades > Floor and Wall Tiling |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definition

Specifications refers to documented instructions (oral, written, graphic) and may include any of the following: manufacturer’s specifications, recommendations or technical data sheets; material specifications; specifications from a specialist source such as an architect, designer, engineer or a supervisor; site or work specific requirements.

2	Legislation and publications relevant to this unit standard include:

Health and Safety in Employment Act 1992 and Health and Safety in Employment Regulations 1995;

Building Act 2004;

Resource Management Act 1991.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of under tile heating systems and their installation.

Performance criteria

1.1	Under tile heating systems are described in terms of their operation.

1.2	Safety requirements for under tile heating systems are described in accordance with manufacturer’s specifications.

Range	use of tripping and alarm systems, isolation of heating system from wet areas and flammable material.

1.3	Installation procedures of under tile heating systems are described in accordance with manufacturer’s specifications.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 February 2005 | 31 December 2024 |
| Rollover and Revision | 2 | 25 January 2008 | 31 December 2024 |
| Rollover | 3 | 19 September 2008 | 31 December 2024 |
| Review | 4 | 18 February 2011 | 31 December 2024 |
| Review | 5 | 30 June 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.