| Title | Glaze aluminium joinery products |
| --- | --- |
| Level | 3 | Credits | 10 |

| Purpose | This unit standard is for people employed in the aluminium joinery industry. People credited with this unit standard are able to: demonstrate knowledge of glazing systems for aluminium joinery products; prepare to glaze aluminium joinery products; glaze aluminium joinery products; glaze an insulated glass unit into aluminium joinery; and complete workplace requirements. |
| --- | --- |

| Classification | Construction Trades > Architectural Aluminium Joinery |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and standards relevant to this standard include but are not limited to the Building Act 2004; Health and Safety in Employment Act 1992; New Zealand Standards (NZS) 4211:2008 Specification for performance of windows; NZS 4223 Parts 1 and 2:1985 Code of practice for glazing in buildings; and AS/NZS 4666:2000 Insulating glass units, available at http://www.standards.co.nz.

2	Definition

Company procedures – the documents and procedures that include company rules, codes and practices; machine and equipment operating instructions; quality and conformance checks; and health and safety requirements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of glazing systems for aluminium joinery products.

Range	includes but is not limited to – pocket glazing with gaskets and wedges, pressure bead glazing, bead glazing with gaskets and wedges, silicon joints.

Performance criteria

1.1	The characteristics of each system are described.

1.2	The requirements for the successful installation of each system are described.

1.3	At least two situations where each of the glazing systems would be selected over the others are described and reasons are given for the choices.

Outcome 2

Prepare to glaze aluminium joinery products.

Performance criteria

2.1	Product specifications and quality requirements are verified in accordance with company procedures.

Range	may include but is not limited to – computerised specifications, job sheets, material manufacturer’s instructions, glass type and glazing method.

2.2	Glass selected meets the job specifications.

Range	includes but is not limited to – size, thickness, quality and freedom from faults, safety labels.

2.3	Where required for glazing, disassembly of frame is completed without damage to the frame and in accordance with manufacturer’s instructions.

2.4	Glazing materials and frame components are available and prepared in accordance with the job specification and workplace requirements.

Range	glazing materials and frame components may include but are not limited to – beads, gaskets, wedges, setting blocks, and sealants.

2.5	Personal protective clothing is worn, and equipment and tools required are selected and checked for serviceability in accordance with company procedures.

2.6	Work area is free of debris and abrasive materials, hazards are identified and procedures for their elimination, minimisation or isolation are implemented before glazing commences.

Outcome 3

Glaze aluminium joinery products.

Range	includes but is not limited to – pocket glazing with gaskets and wedges, pressure bead glazing, bead glazing with gaskets and wedges, silicon joints.

Performance criteria

3.1	Glazing procedures meet the job specifications and company requirements.

Range	requirements may include but are not limited to – correct blocking, glass is square and correctly oriented, gaskets and wedges are not stretched, drainage is correct and unobstructed.

3.2	Window design and glazing methods are selected in accordance with company procedures.

3.3	Where required, reassembly of disassembled aluminium joinery products is completed in accordance with manufacturer’s instructions.

Range	includes but is not limited to – frame, sash, panel.

3.4	Glazing is completed without damage to the glass or aluminium joinery, or injury to the installer or danger to others, and is in accordance with manufacturer's instructions.

Outcome 4

Glaze an insulated glass unit into aluminium joinery.

Performance criteria

4.1	Glazing of an insulated glass unit is carried out in accordance with company procedures.

Range	requirements may include but are not limited to – correct blocking, glass is square and correctly oriented, gaskets and wedges are not stretched, labels are applied where required, drainage is correct and unobstructed.

  - Insulated glass unit is glazed in accordance with AS/NZS 4666:2000 and company procedures.

Outcome 5

Complete workplace requirements.

Performance criteria

5.1	Inspection of finished work ensures that glazing meets job specifications and company procedures.

5.2	Glass is trade cleaned and cleared of lubricants, and the aluminium joinery unit is labelled in accordance with company procedures.

5.3	Tools and equipment used are cleaned and surplus materials are stored in accordance with company procedures.

5.4	Waste materials are removed from the site and disposed of in accordance with company procedures.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 11 August 1993 | 31 December 2025 |
| Review | 2 | 26 July 2000 | 31 December 2025 |
| Review | 3 | 24 August 2006 | 31 December 2025 |
| Rollover and Revision | 4 | 20 May 2011 | 31 December 2025 |
| Review | 5 | 26 May 2022 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0073 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.