| Title | Install electronic security access control systems |
| --- | --- |
| Level | 3 | Credits | 7 |

| Purpose | This unit standard is intended for the training and assessment of people working in or intending to work in the electronic security industry and covers the installation of security access control systems. People credited with this unit are able to: – demonstrate knowledge of installation of access control components; – install components in simple access control systems; – program simple access control systems to prove installation is performing to manufacturer specifications and client requirements; and – test, commission, and handover a security door system and record the results. |
| --- | --- |

| Classification | Electronic Engineering > Electronic Security |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Prerequisites | Unit 26841, Demonstrate knowledge of electronic security systems and equipment, or demonstrate equivalent knowledge and skills. |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job at client premises.

2	Persons working or intending to work as a security officer or in related security employment may require a Security Guards Licence or, if an employee of a Security Guard Licence holder, a Certificate of Approval to be the Responsible Employee of a Security Guard.  These licences are issued by the Private Security Personnel Licensing Authority available through: www.justice.govt.nz/tribunals/licences-certificates/pspla/.

3	Definitions

Door hardware – electric locks, reed switch, emergency break glass, request to exit, key switch override, sounders.

Door monitoring – door position, bond sense, latch position, key switch override, request to exit, emergency break glass.

EOL – End of Line.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Lock hardware – magnetic lock, mortise lock, V-lock, power bolt.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

4	References – Specific to Electronic Security Industry.

New Zealand Security Association (Inc), Code of Practice for Alarm Monitoring Centres, 2007;

New Zealand Security Association (Inc), Code of Practice for Closed Circuit Television Surveillance Systems, 2006;

New Zealand Security Association (Inc), Code of Practice for Electronic Access Control, 2008;

New Zealand Security Association (Inc), Code of Practice for Intruder Alarm Systems, 2007;

Codes of Practice available from: http://security.org.nz.

AS/NZS 2201.1:2007, Intruder alarm systems – Client's premises – Design, installation, commissioning and maintenance;

AS/NZS 2201.5:2008, Intruder alarm systems – Alarm transmission systems;

and all subsequent amendments and replacements.

References – General to Electronic Security Industry

Building Act 2004;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015;

Private Security Personnel and Private Investigators Act 2010;

Privacy Act 2020;

AS/NZS 3000:2018, Electrical installations (known as the Australian/New Zealand Wiring Rules);

NZS 4512:2021, Fire detection and alarm systems in buildings;

NZS 4514:2021, Interconnected smoke alarms for houses;

Telecommunications Act 2001;

Local territorial authority requirements;

and all subsequent amendments and replacements.

5	Guidelines for connection of intruder alarm systems to telephone lines are contained in Access Standards Newsletters issued periodically by Spark NZ Ltd, available from www.telepermit.co.nz.

6	Where not stated, evidence for the number and type of equipment chosen is left to the discretion of the assessor, but must be sufficient to assess competence in all outcomes of the unit standard.

7	Range

a	Candidates must refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturer instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of installation of access control components.

Range	door hardware connection to door controller, door controller connection to system controller, server/pc interface to system controller, power supply, emergency egress override and fire release, locking types.

Performance criteria

1.1	Describe components of an access control system and identify their features in terms of functionality and installation requirements of locking.

1.2	Explain the purpose of each component with respect to the complete system.

1.3	Use specifications to identify variations of performance and operation of equivalent components from two manufacturers.

Outcome 2

Install components in simple access control systems.

Range	single door hardware, door monitoring, single door controller, system controller, system software, power supply and emergency egress;

evidence of five installations is required;

evidence of three different lock types is required.

Performance criteria

2.1	Complete installation and confirm connections.

2.2	Install door monitoring and test with EOL.

Range	evidence of three tests per door is required.

2.3	Install lock hardware in accordance with Standards and codes of practice.

Range	evidence of three lock types per installation.

2.4	Install power supplies in accordance with AS/NZS 3000.

Outcome 3

Program simple access control systems to prove installation is performing to manufacturer specifications and client requirements.

Range	evidence of five installations is required.

Performance criteria

3.1	Program the inputs and outputs of a single door to ensure it operates to manufacturer specifications.

3.2	Program a system so that the door can be operated over a seven-day period with automatic locking and opening at set times.

3.3	Programme a card so that the door can be unlocked based on card holder’s access rights.

Outcome 4

Test, commission, and hand over a security door system and record the results.

Range	door operation, user functions, emergency egress;

evidence for five installations is required.

Performance criteria

4.1	Test door not locked, request to exit, door opening on valid card, forced door, and door open too long and record results.

4.2	Test emergency break glass operation, fire alarm operation, and power fail and record results.

Range	four tests for each door, five tests for each system.

4.3	Test card holder access against card holder access rights in terms of authorised hours and unauthorised hours and record results.

4.4	Communicate equipment operation, warranty, and service options to the customer in accordance with the equipment documentation.

4.5	Describe the operational relationships between installation, alarm monitoring, and alarm activation and response to alarms.

4.6	Complete the handover documentation in the agreed format in accordance with customer requirements.

4.7	Brief client on system operation.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 November 1997 | 31 December 2011 |
| Revision | 2 | 3 April 2001 | 31 December 2011 |
| Revision | 3 | 11 March 2004 | 31 December 2012 |
| Rollover | 4 | 21 November 2008 | 31 December 2012 |
| Review | 5 | 19 November 2010 | 31 December 2022 |
| Revision | 6 | 17 June 2011 | 31 December 2022 |
| Review | 7 | 14 December 2017 | N/A |
| Rollover and Revision | 8 | 27 October 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.