| Title | Demonstrate knowledge of principles related to provision of services for small buildings |
| --- | --- |
| Level | 5 | Credits | 5 |

| Purpose | People credited with this unit standard are able to, for small buildings: explain purposes and operating principles of services; explain principles of coordination and placement and reticulation of services; and demonstrate knowledge of legislative requirements relevant to services. |
| --- | --- |

| Classification | Construction > Core Planning and Construction |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	For the purpose of this unit standard, services include – plumbing, cold and hot water, drainage, electricity, gas, ventilation, heating, telecommunications.

2	Small buildings are small scale, light weight buildings, generally of non-specific design, and of domestic scale with lightweight framing and/or concrete or concrete masonry construction.

3	Assessment of this unit standard can be by simulation and/or observation.

4	Legislation and publications relevant to this unit standard include: Health and Safety in Employment Act 1992 and Health and Safety in Employment Regulations 1995;

Resource Management Act 1991;

Building Act 2004;

Electricity Act 1992;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Telecommunications Act 2001;

New Zealand Building Code;

AS/NZS 3500 Set, available from Standards New Zealand (http://www.standards.co.nz).

Outcomes and performance criteria

Outcome 1

Explain purposes and operating principles of services in small buildings.

Performance criteria

1.1	Purposes of services are identified with reference to the requirements of small buildings.

1.2	Components of services are identified in terms of their function.

1.3	Operating principles of services are explained in terms of their effects on building design and construction.

1.4	Explanation of services identifies their safety features.

Outcome 2

Explain principles of coordination and placement and reticulation of services for small buildings.

Performance criteria

2.1	Principles of coordination and placement of services are explained in terms of their compatibility in small buildings.

2.2	Principles regarding the placement of services in small buildings are explained in terms of requirements for construction, use, and servicing.

2.3	Any reticulation of services is demonstrated using a line drawing.

Outcome 3

Demonstrate knowledge of legislative requirements relevant to services in small buildings.

Performance criteria

3.1	Legislative requirements are analysed to determine the provision of services for small buildings.

3.2	Situations are identified where the expertise of other professionals is required.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 March 1997 | 31 December 2024 |
| Revision | 2 | 10 December 1997 | 31 December 2024 |
| Revision | 3 | 7 June 2000 | 31 December 2024 |
| Review | 4 | 20 March 2003 | 31 December 2024 |
| Revision | 5 | 19 July 2004 | 31 December 2024 |
| Review | 6 | 18 March 2011 | 31 December 2024 |
| Review | 7 | 25 August 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.